## Dialysis data
HUMA
v001, v003, v011, v006, fistula published data not h2h
V007/NCT03183245
ph3, N=242, multi ctr, OL, randomized, HAV/ATEV vs AVF for hemodialysis
followed for 24mths and then for up to 5yrs
called it humacyl
looked at functional patency(?) at 6mths and secondary patency at 12mths co-primary endpts
| ATEV | AVF
fcn pat, 6m | 81.3% | 66.4%
2nd pat, 12m | 68.3% | 62.2% | p=0.0071 for both |  | p=0.389 alone
"patients on ATEV also achieved a significantly longer duration of hemodialysis over the first 12 months, as compared to autogenous fistula (p=0.0162)"
more AEs w ATEV compared to AVF
primary pat??
functional patency
V-006/ NCT02644941
ph3, N=355, multi ntl, OL, randomized, comparison btwn 1of2 ePTFE and HAV/ATEV in hemodialysis access surgery
ePTFE
did not meet primary endpt, 2nd pat at 18mths
2nd pat of HAV > ePTFE at 6,12mths but not 18,24mths
2nd pat | HAV | ePTFE
6m | 92% | 87%
12m | 82% | 80%
18m | 73% | 77%
24m | 67% | 74%
V011/ NCT04135417
n=30, multicenter, OL, single arm, patients w vascular access for dialysis
24mths follow after implantation, visists eveyr 6mths
study completion 2022-03-02
Poland
Six-year outcomes of a phase II study of human-tissue engineered blood vessels for peripheral arterial bypass
https://pubmed.ncbi.nlm.nih.gov/36874956/
V001/ NCT01744418
interventional trial, n=40, vascular prosthesis for end-stage renal disease, pilot study
study start 11/22/2012
completion 12/2024
2018 | Utilization, patency, and complications associated with vascular access for hemodialysis in the United States
https://www.jvascsurg.org/article/S0741-5214(18)30403-8/fulltext
Meta analysis
| AVF | prosthetic
N= | 73884 | 16533
maturation rate | 79% | 84%
mTime to maturation | 47d | 29d
| True historical comparison for hemodyalisys surgery | [5 empty] | Infection rates for AV access
primary pat | AVF | prosthethic |  |  |  |  | AVF | prosthetic | catheter
1yr | 42.7% | 31.5% |  |  |  | %infected p=0.001 | 0.5% | 5%
2 | 34.1% | 20.5% |  |  |  | N= | 925 | 2491
3 | 27.7% | 14.1% |  |  |  | aHR severe infection p=0.001 | best | 9.6 | 2.3
4 | 22.8% | 10.8% |  |  |  | severe infections mean they have to remove the graft
5 | 19.9% | 9.3% |  |  |  | all cause mortality p=0.001 | 29.5% | 36.7% | 42.2%
primary assisted | AVF | prosthethic |  |  | pt survival | 1yr | 84% | 78.2% | 69.6%
1yr | 53.3% | 39.7% |  |  |  | 2 | 72.3% | 64.4% | 58.8%
2 | 46.8% | 29.3% |  |  |  | 3 | 62% | 53.6% | 51.2%
3 | 42% | 22.7% |  |  |  | 4 | 53.5% | 44.9% | 45.2%
4 | 37.7% | 18.9% |  |  |  | 5 | 50% | 41.2% | 42.9%
5 | 34.9% | 16.3%
2nd pat | AVF | prosthethic
1yr | 59.5% | 56.8%
2 | 54.2% | 48.1%
3 | 50.3% | 41.7%
4 | 46.6% | 37%
5 | 43.9% | 33.2%
most patients in study that got AVF had allready used catheter
longer term data shows the difference much more easily in primary pat vs 2nd
the synth actually touches/ crosses AVF initially at the 4-6mth mark
| Lifeline, Cytograft USA |  | Autologous skin fibroblasts, cell sheets, seeded with vein EC
prim pat1m | 78%
prim pat 6m | 60%
2008 | Hemodialysis Arteriovenous Fistula Patency Revisited: Results of a Prospective, Multicenter Initiative
doi: 10.2215/CJN.02950707
prospective, multi-center study,standardized defns,
n=491 AVFs, n=395pts
| 6m | 12m | 18m
functional patency | 90% | 88% | 86%
secondary patency | 75% | 70% | 67%
primary fail rate | 40%
thrombosis rate | 0.14/pt yr
2020 | Patency of ePTFE Arteriovenous Graft Placements in Hemodialysis Patients: Systematic Literature Review and Meta-Analysis
DOI: 10.34067/KID.0003502020
Laura did the review and meta-analysis
| 6m | 12m | 18m | 24m
Primary | 56% | 41% | 34% | 28%
Primary assisted | 59% | 46% | 39% | 34%
Secondary | 80% | 70% | 59% | 54%

## Trauma data
BLA submitted in December 2023, priority review granted in Feb 2024, PDUFA Aug 10, 2024
approval of the Human Acellular Vessel (HAV) in urgent arterial repair following extremity vascular trauma when synthetic graft is not indicated, and when autologous vein use is not feasible.
V005/ NCT03005418
| ph2/3, n=72, multi ctr, non-randomized, with life or limb threatening vascular trauma | [6 empty] | eligibility: Life expectancy of at least 1 year?
limb cohort and torso cohort, avg age 39 (18-81)
limb will include upper and lower body, mostly lower body
|  | torso is thorax (minus heart), abdomen, and retrooperitineum | [5 empty] | Study regd 2016-12-29
| implanted as interposition vessel or bypass | [6 empty] | Last update: 2023-10-31
| active study 36mths | [6 empty] | study start: 2018-09-01
| 24mths of enrollment + 36mths follow up | [6 empty] | enrollment done: 2020-09-01
Primary Outcomes:
HAV primary patency, 30days
the interval from the time of access placement until any intervention designed to maintain or reestablish patency, access thrombosis or the measurement of patency', i.e., patent without interventions
freq and severity of A.E.s, 36mths
Secondary outcomes:
limb viability, 36mths
|  | HAV primary pat, primary asssisted, secondary, 36mths | [5 empty] | originally wanted all these to be 12mths not 36mths
rate of HAV interventions, 36mths
|  | patient survival, 36mths | [5 empty] | exclusion:
|  | HAV remodelling by histopathology of clin explants, 36mths | [5 empty] | 1. Known medical condition which would preclude long term antiplatelet therapy after resolution of acute injuries
Freq of anastomotic bleeding or spont. Rupture, 36mths
Freq of HAV infection, 36mths
Freq of HAV thrombosis, 36mths
Freq of HAV pseudoaneurysm formation, 36mths
Freq of HAV aneurysm formation, 36mths
Freq of HAV hemodynamically sig. stenosis (>70% in duplex ultrasound), 36mths
Freq of HAV removal, 36mths
Topline data PR, 2023-12-12
n=69, 51 had vascular injury of extremities, evln group | [7 empty] | From old SEC deck
|  | HAV | Literature Review Synthetic Graft |  |  |  |  | Location
30day secondary pat |  | 90.2% | 78.9% |  |  |  |  | Lower ex | 29
primary pat (time??) |  | 84.3% | NOT POSSIBLE |  |  |  |  | Upper Ex | 9
amputation rate |  | 9.8% | 24.3% |  |  | explosive vs gunshot wounds ? |  | Torso | 3
infection |  | 2% | 8.4% |  |  | is this all 30d data?? |  |  | 41
Mechanism
Combo data | [7 empty] | Gunshot | 18
2ndary pat, 30d | 91.5% | [6 empty] | Motor vehicle | 6
amputation rates | 4.5% | [6 empty] | Fall | 4
infection | 0.9% | [6 empty] | Iatrogenic | 11
[8 empty] | Industriall/ crush | 2
Topline data in slides:
69 enrolled, 51 had vascular injury to the extremities were primary evaluation group
| ATEV | historical synth graft??
30 day patency(??) | 90.2% | 81%
amputation rates | 9.8% | 20%
infection rate | 2% | 8%
V-017/ NCT05873959
retrospective, observational, n=16, retrospective, humanatarian basis, life or limb threatening trauma
pts had them btwn June 2022 and May 2023
ukraine
last update was aug 29, 2024
inclusion criteria much less stringent for this group
non-iatrogenic
mostly blast, less gunshot wounds. She actually admits this is better for outcomes
Pimary outcomes:
rate of adverse events up to 12mths
primary pat at 30days
Secondary outcomes:
frequency of adverse events of special interest (AESIs), up to 12mths
time frame when HAV has not been replaced, ligated or removed, up to 12mths
rate of affected limb salvage/ amputation, up to 12mths
patency of HAV (primary, secondary, primary assisted), up to 12mths
prim pat, 30d | 93.8%
2ndary pat, 30d | 93.8%
amputations | 0
infections | 0
2020 | Patency of arterial repairs from wartime extremity vascular injuries
doi: 10.1136/tsaco-2020-000616
https://www.ncbi.nlm.nih.gov/pmc/articles/PMC7768973/
reporting long term lower limb salvage rates of 74-82.7% (3,4)
early upper extremity amputation rates range 9.3%-12.1% (24, 35)
noting issue of not getting patency follow-up data, only amputation
VA Vascular Injury Study (VAVIS) (37,38), younger possibly fitter cohort
difference between explosive and gunshots. Gunshots worse
difference btwn civ and wartime
civ should be better
civ studies (32,33)
We did not find comparable patency studies in the literature on combat‐related arterial injuries.
Initial, short-term placement of prosthetic grafts with subsequent revision to a vein graft was defined as a temporizing procedure, and the patency of the vein graft was reported
2015 | VA Vascular Injury Study (VAVIS)
normaly patency is 50-60%, and the increase in patency rates affected by platelet agents/ statis/ yearly duplex ultrasound is no less than 12% (conservatively)
The Antiplatelet Trialists’ Collaboration found that antiplatelet therapy was associated with a relative risk reduction of 43% in graft occlusion
2002 | Limb Trauma with Arterial Injury: Long-term Performance of Venous Interposition Grafts
https://sci-hub.se/10.1055/s-2003-38986
Saphenous/ cephalic vein
n=10, got angiogrpahy
9/10 patent postoperatively
mean follow up 59mths, (23-139mths)
n=17
DATA FOR HISTORICAL COMPARISON
2014 | Ischemia and functional status of the left arm and quality of life after left subclavian artery coverage during stent grafting of thoracic aortic diseases
https://www.jvascsurg.org/article/S0741-5214(14)00162-1/fulltext
Klocker paper
thoracic data. This is not in the patient population
2013 | A Retrospective Cohort Comparison of Expanded Polytetrafluorethylene to Autologous Vein for Vascular Reconstruction in Modern Combat Casualty Care
Watson paper
https://doi.org/10.1016/j.avsg.2014.12.026
n=49, age~25
ISS ~20, MESS ~6
| AV | ePTFE
n= | 24 | 25
freedom from graft complications | 65% | 17% | p=0.13
carotid, subclavian, acillary pos | equal | equal | p=0.90
periphery, 8yr no Aes | 77% | 31% | p=0.044
2009 | The Use of Prosthetic Grafts in Complex Military Vascular Trauma: A Limb Salvage Strategy for Patients With Severely Limited Autologous Conduit
(wrong yr reported) | n=14, 95 total pts in cohort but 14 got prosthetic grafts for extremirt bypass for vascular injuries
blast injury | 6 |  |  | superficial femoral | 8 | L | 57.14%
gunshot wound | 6 |  |  | brachial | 3 | U | 21.43%
blunt trauma | 2 |  |  | common carotid | 1 | T | 7.143%
| PTFE graft |  |  | subclavian | 1 | T | 7.143%
near term patency | 79% |  |  | axillary | 1 | T | 7.143%
then they got a AV graft
no deaths or blowouts
no patients had amputations
3pts

## PAD data
V002
V004
2024 | Comparative outcomes of arterial bypass using the human acellular vessel and great saphenous vein in patients with chronic limb ischemia
comparison btwn GSV and HAV in PAD
mostly in tibial bypass
group 1, n=34, got HAV
group 2, historical, multi-center, single-segment GSV, n=88
| G1 | more smoking, more coronary artery disease (71% v 43%), prior grafting (38% v 14%)
more wounds, ischemia, foot infections stage 4 (weird stat, 56% v 33%)
previous leg revascularizations (97% v 53%)
85% of pts had to have HAV sewn together
tibial vessels target of surgery 79% vs 100%
| G1 | G2
mOperative time | 364mins | 464mins
amputation free survival | 73% | 81% | p=0.55
OS | 84% | 88% | p=0.20 | S
primary pat | 36% | 50% | p=0.44
prim assist pat | 45% | 72% | p=0.002
secondary pat | 64% | 72% | p=0.003
2024 | Outcomes of Arterial Bypass With the Human Acellular Vessel for Chronic Limb-Threatening Ischemia Performed Under the FDA Expanded Access Program
limb salvage, limb threatening ischemia, FDA expanded access program
n=14, older popln, 12men mAge 62+/- 14yrs

## PTFE Data
ECRI meta data
Grafts
22 human studies
Appendix D
Local Host responses, reported:
patency, thrombosis, occlusion, hematoma and complication rate
no dif in out come of PTFE vs other graft material/ technique
Hemodialysis
2019 SR Flixene and Acuseal
| Flixene | Acuseal | Avflo | polyurethane Vectra
mTime to first cannulation | 2-21d | 1-15d | 7d | 1-19d
primary pat, 12m | 43.3% | 43.6% | 58.2% | 63.7%
secondary pat, 12m | 73.4% | 70.5% | 79.2% | 85.8%
steal syndrome | 0-8% | 0-11% | n/a | 0-3.5%
access thrombosis | 11-29% | 17-41% | 16-42% | 23-37%
pseudoaneurym | 0-6% | 0-15% | 0% | 0-17%
2015 single arm study, ePTFE study
| standard PTFEe | heparin bonded ePTFE graft
primary pat, 6m | 29% | 35%
primary pat, 12m | 12% | 14%
assisted primary pat, 12m | 41% | 54%
assisted primary pat, 24m | 30% | 41%
assisted primary pat, 36m | 23% | 27%
secondary pat, 12m | 81% | 83%
secondary pat, 24m | 73% | 83%
secondary pat, 36m | 68% | 81%
much fewer thromboses in haparin bonded graft