## Dialysis data
HUMA
v001, v003, v011, v006, fistula published data not h2h
V007/NCT03183245
ph3, N=242, multi ctr, OL, randomized, HAV/ATEV vs AVF for hemodialysis
followed for 24mths and then for up to 5yrs
called it humacyl
looked at functional patency(?) at 6mths and secondary patency at 12mths co-primary endpts
| ATEV | AVF
fcn pat, 6m | 81.3% | 66.4%
2nd pat, 12m | 68.3% | 62.2% | p=0.0071 for both |  | p=0.31 alone
"patients on ATEV also achieved a significantly longer duration of hemodialysis over the first 12 months, as compared to autogenous fistula (p=0.0162)"
more AEs w ATEV compared to AVF
primary pat??
functional patency
V-006/ NCT02644941
ph3, N=355, multi ntl, OL, randomized, comparison btwn 1of2 ePTFE and HAV/ATEV in hemodialysis access surgery
ePTFE
did not meet primary endpt, 2nd pat at 18mths
2nd pat of HAV > ePTFE at 6,12mths but not 18,24mths
2nd pat | HAV | ePTFE
6m | 92% | 87%
12m | 82% | 80%
18m | 73% | 77%
24m | 67% | 74%
V011/ NCT04135417
n=30, multicenter, OL, single arm, patients w vascular access for dialysis
24mths follow after implantation, visists eveyr 6mths
study completion 2022-03-02
Poland
Six-year outcomes of a phase II study of human-tissue engineered blood vessels for peripheral arterial bypass
https://pubmed.ncbi.nlm.nih.gov/36874956/
V001/ NCT01744418
interventional trial, n=40, vascular prosthesis for end-stage renal disease, pilot study
study start 11/22/2012
completion 12/2024
2018 | Utilization, patency, and complications associated with vascular access for hemodialysis in the United States
https://www.jvascsurg.org/article/S0741-5214(18)30403-8/fulltext
Meta analysis
| AVF | prosthetic
N= | 73884 | 16533
maturation rate | 79% | 84%
mTime to maturation | 47d | 29d
| True historical comparison for hemodyalisys surgery | [5 empty] | Infection rates for AV access
primary pat | AVF | prosthethic |  |  |  |  | AVF | prosthetic | catheter
1yr | 42.7% | 31.5% |  |  |  | %infected p=0.001 | 0.5% | 5%
2 | 34.1% | 20.5% |  |  |  | N= | 925 | 2491
3 | 27.7% | 14.1% |  |  |  | aHR severe infection p=0.001 | best | 9.6 | 2.3
4 | 22.8% | 10.8% |  |  |  | severe infections mean they have to remove the graft
5 | 19.9% | 9.3% |  |  |  | all cause mortality p=0.001 | 29.5% | 36.7% | 42.2%
primary assisted | AVF | prosthethic |  |  | pt survival | 1yr | 84% | 78.2% | 69.6%
1yr | 53.3% | 39.7% |  |  |  | 2 | 72.3% | 64.4% | 58.8%
2 | 46.8% | 29.3% |  |  |  | 3 | 62% | 53.6% | 51.2%
3 | 42% | 22.7% |  |  |  | 4 | 53.5% | 44.9% | 45.2%
4 | 37.7% | 18.9% |  |  |  | 5 | 50% | 41.2% | 42.9%
5 | 34.9% | 16.3%
2nd pat | AVF | prosthethic
1yr | 59.5% | 56.8%
2 | 54.2% | 48.1%
3 | 50.3% | 41.7%
4 | 46.6% | 37%
5 | 43.9% | 33.2%
most patients in study that got AVF had allready used catheter
longer term data shows the difference much more easily in primary pat vs 2nd
the synth actually touches/ crosses AVF initially at the 4-6mth mark
| Lifeline, Cytograft USA |  | Autologous skin fibroblasts, cell sheets, seeded with vein EC
prim pat1m | 78%
prim pat 6m | 60%
2008 | Hemodialysis Arteriovenous Fistula Patency Revisited: Results of a Prospective, Multicenter Initiative
doi: 10.2215/CJN.02950707
prospective, multi-center study,standardized defns,
n=491 AVFs, n=395pts
| 6m | 12m | 18m
functional patency | 90% | 88% | 86%
secondary patency | 75% | 70% | 67%
primary fail rate | 40%
thrombosis rate | 0.14/pt yr
2020 | Patency of ePTFE Arteriovenous Graft Placements in Hemodialysis Patients: Systematic Literature Review and Meta-Analysis
DOI: 10.34067/KID.0003502020
Laura did the review and meta-analysis
| 6m | 12m | 18m | 24m
Primary | 56% | 41% | 34% | 28%
Primary assisted | 59% | 46% | 39% | 34%
Secondary | 80% | 70% | 59% | 54%

## Trauma data
BLA submitted in December 2023, priority review granted in Feb 2024, PDUFA Aug 10, 2024
approval of the Human Acellular Vessel (HAV) in urgent arterial repair following extremity vascular trauma when synthetic graft is not indicated, and when autologous vein use is not feasible.
V005/ NCT03005418
| ph2/3, n=72, multi ctr, non-randomized, with life or limb threatening vascular trauma | [7 empty] | eligibility: Life expectancy of at least 1 year?
limb cohort and torso cohort, avg age 39 (18-81)
limb will include upper and lower body, mostly lower body
|  | torso is thorax (minus heart), abdomen, and retrooperitineum | [6 empty] | Study regd 2016-12-29
| implanted as interposition vessel or bypass | [7 empty] | Last update: 2023-10-31
| active study 36mths | [7 empty] | study start: 2018-09-01
| 24mths of enrollment + 36mths follow up | [7 empty] | enrollment done: 2020-09-01
Primary Outcomes:
HAV primary patency, 30days
the interval from the time of access placement until any intervention designed to maintain or reestablish patency, access thrombosis or the measurement of patency', i.e., patent without interventions
freq and severity of A.E.s, 36mths
Secondary outcomes:
limb viability, 36mths
|  | HAV primary pat, primary asssisted, secondary, 36mths | [6 empty] | originally wanted all these to be 12mths not 36mths
rate of HAV interventions, 36mths
|  | patient survival, 36mths | [6 empty] | exclusion:
|  | HAV remodelling by histopathology of clin explants, 36mths | [6 empty] | 1. Known medical condition which would preclude long term antiplatelet therapy after resolution of acute injuries
Freq of anastomotic bleeding or spont. Rupture, 36mths
Freq of HAV infection, 36mths
Freq of HAV thrombosis, 36mths
Freq of HAV pseudoaneurysm formation, 36mths
Freq of HAV aneurysm formation, 36mths
Freq of HAV hemodynamically sig. stenosis (>70% in duplex ultrasound), 36mths
Freq of HAV removal, 36mths
Topline data PR, 2023-12-12
n=69, 51 had vascular injury of extremities, evln group | [8 empty] | From old SEC deck
|  | HAV | Literature Review Synthetic Graft | [5 empty] | Location
30day secondary pat |  | 90.2% | 78.9% | [5 empty] | Lower ex | 29
primary pat (time??) |  | 84.3% | NOT POSSIBLE | [5 empty] | Upper Ex | 9
amputation rate |  | 9.8% | 24.3% |  |  | explosive vs gunshot wounds ? |  |  | Torso | 3
infection |  | 2% | S |  |  | is this all 30d data?? |  |  |  | 41
Mechanism
Combo data | [8 empty] | Gunshot | 18
2ndary pat, 30d | 91.5% | [7 empty] | Motor vehicle | 6
amputation rates | 4.5% | [7 empty] | Fall | 4
infection | 0.9% | [7 empty] | Iatrogenic | 11
[9 empty] | Industriall/ crush | 2
Topline data in slides:
69 enrolled, 51 had vascular injury to the extremities were primary evaluation group
| ATEV | historical synth graft??
30 day patency(??) | 90.2% | 81%
amputation rates | 9.8% | 20%
infection rate | 2% | 8%
FDA interpretation of data
30d data | 54
Primary patency | 36 | 66.67%
Secondary patency | 39 | 72.22%
Vascular graft infections | 1 | 1.852%
Limb salvage | 41 | 75.93%
up to 3yr data
AEs >3%
Graft thrombosis | 15 | 27.78%
Pyrexia | 9 | 16.67%
Pain | 8 | 14.81%
Anastamotic stenosis | 5 | 9.259%
Rupture or anastamotic failure | 4 | 7.407%
Graft infection | 3 | 5.556%
V-017/ NCT05873959
retrospective, observational, n=16, retrospective, humanatarian basis, life or limb threatening trauma
pts had them btwn June 2022 and May 2023
ukraine
last update was aug 29, 2024
inclusion criteria much less stringent for this group
non-iatrogenic
mostly blast, less gunshot wounds. She actually admits this is better for outcomes
Pimary outcomes:
rate of adverse events up to 12mths
primary pat at 30days
Secondary outcomes:
frequency of adverse events of special interest (AESIs), up to 12mths
time frame when HAV has not been replaced, ligated or removed, up to 12mths
rate of affected limb salvage/ amputation, up to 12mths
patency of HAV (primary, secondary, primary assisted), up to 12mths
prim pat, 30d | 93.8%
2ndary pat, 30d | 93.8%
amputations | 0
infections | 0
2020 | Patency of arterial repairs from wartime extremity vascular injuries
doi: 10.1136/tsaco-2020-000616
https://www.ncbi.nlm.nih.gov/pmc/articles/PMC7768973/
reporting long term lower limb salvage rates of 74-82.7% (3,4)
early upper extremity amputation rates range 9.3%-12.1% (24, 35)
noting issue of not getting patency follow-up data, only amputation
VA Vascular Injury Study (VAVIS) (37,38), younger possibly fitter cohort
difference between explosive and gunshots. Gunshots worse
difference btwn civ and wartime
civ should be better
civ studies (32,33)
We did not find comparable patency studies in the literature on combat‐related arterial injuries.
Initial, short-term placement of prosthetic grafts with subsequent revision to a vein graft was defined as a temporizing procedure, and the patency of the vein graft was reported
2015 | VA Vascular Injury Study (VAVIS)
normaly patency is 50-60%, and the increase in patency rates affected by platelet agents/ statis/ yearly duplex ultrasound is no less than 12% (conservatively)
The Antiplatelet Trialists’ Collaboration found that antiplatelet therapy was associated with a relative risk reduction of 43% in graft occlusion
2002 | Limb Trauma with Arterial Injury: Long-term Performance of Venous Interposition Grafts
https://sci-hub.se/10.1055/s-2003-38986
Saphenous/ cephalic vein
n=10, got angiogrpahy
9/10 patent postoperatively
mean follow up 59mths, (23-139mths)
n=17
DATA FOR SYNTH BENCHMARK
2014 | Ischemia and functional status of the left arm and quality of life after left subclavian artery coverage during stent grafting of thoracic aortic diseases
https://www.jvascsurg.org/article/S0741-5214(14)00162-1/fulltext
Klocker paper
thoracic data. This is not in the patient population
2013 | A Retrospective Cohort Comparison of Expanded Polytetrafluorethylene to Autologous Vein for Vascular Reconstruction in Modern Combat Casualty Care | [14 empty] | 1
Watson paper
https://doi.org/10.1016/j.avsg.2014.12.026
n=49, age~25
ISS ~20, MESS ~6
| AV | ePTFE
n= | 24 | 25
follow up time | 62m | 71m
freedom from graft complications | 65% | 17% | p=0.13
carotid, subclavian, acillary pos | equal | equal | p=0.90 | so only exetremities were different
periphery, 8yr no AEs | 77% | 31% | p=0.044
2009 | The Use of Prosthetic Grafts in Complex Military Vascular Trauma: A Limb Salvage Strategy for Patients With Severely Limited Autologous Conduit | [14 empty] | 2
(wrong yr reported) | Vertrees paper
n=14, 95 total pts in cohort but 14 got prosthetic grafts for extremirt bypass for vascular injuries
38mths study
| they got the graft and were flown home | [7 empty] | 3 were taken out in <30d
3 were taken out for thrombosis
blast injury | 6 |  |  | superficial femoral | 8 | L | 57.14% |  | 3 taken out for stenosis
gunshot wound | 6 |  |  | brachial | 3 | U | 21.43% |  | 4 taken out for being exposed, assumed infection
blunt trauma | 2 |  |  | common carotid | 1 | T | 7.143%
| PTFE graft |  |  | subclavian | 1 | T | 7.143% |  | one yr later 2/9 were left
near term patency | 79% |  |  | axillary | 1 | T | 7.143%
then they got a AV graft
no deaths or blowouts
no patients had amputations
3pts
| Traumatic Lower Extremity Vascular Injuries and Limb Salvage in a Civilian Urban Trauma Center | [9 empty] | 3
2021 | Urechagga paper
retrospective analysis of lvl 1 trauma center btwn 2013-2020
primary objective was to look at limb salvage
secondary objective was mortality, mobility and complications
n=80
mostly short term follow-ups, only about a month or so. No long term data
91% male, 68% penetrating, mISS 13
mortality 5%, amputation 10% in survivors
we don’t really know how outcomes differ btwn AVG and PTFE. But overall 90% limb salvage
2022 | In-Hospital Outcomes in Autogenous Vein Versus Synthetic Graft Interposition for Traumatic Arterial Injury: A Propensity-Matched Cohort From PROOVIT | [14 empty] | 4
Stonko paper
Proovit database comparison, headline:
Prosthetic conduits work as well as autologous vein for interposition grafts in trauma
n=460, 402 SVG, 58 plastic (45 PTFE, 8 Dacron, 5 others)
plastic group pts were worse off. Higher ISS, more gunshot wounds, more lactate and transfusion reqs,
lower BP, pH, and hemoglobin
after propensity matching they had 87 AVGs and 51 PGs
endovascular intervention, reoperation, pseudoaneurysm and infection were same
no mention of long term outcomes or amputation data
2019 | Management and outcome of 597 wartime penetrating lower extremity arterial injuries from an international military cohort | [11 empty] | 5
Sharrock paper, Rasmussen last author
The objective of this study was to provide a comprehensive examination of penetrating lower extremity arterial injury and to characterize long-term limb salvage and differences related to mechanisms of injury
compared explosion (group 1) and gunshot (group 2)
patients | 568
injuries | 597
| explosion | gunnshot | total
n | 416 | 181
ISS | 19.5 | 15.2 | 18.19
MESS | 6.27 | 5.07 | 5.91
more blood | yes
more amputation | yes
patency similar in both
5.5yr amputation free | 68% | 89% | [11 empty] | infection |  | Amputation
[11 empty] | Count | Author | Synth ITT | Infection |  | Synth ITT | Amputation
| mentioned amputations often occur weeks after initial surgery | [9 empty] | 1 | Watson 13 | 25 | N/I |  | 25 | N/I
| again, not really chopping up the data on PTFE vs AVG. this was looking at lower body explosion vs gunshot | [9 empty] | 2 | Vertrees 09 | 14 | 4 |  | 14 | 3 | elective
[11 empty] | 3 | Urechagga 21 | 45 | N/I |  | 45 | N/I
2016 | Long-term, patient-centered outcomes of Lower Extremity Vascular Trauma | [7 empty] | 6 |  | 4 | Stonko 22 | 51 | 3 | assume 5% | 51 | N/I
| Perkins paper Rasmussen last author | [9 empty] | 5 | Sharrock 19 | 21 | 1 |  | 21 | 7 | 3.2% (not dif in two groups)
| GWOT-VII database | [9 empty] | 6 | Perkins 16 | N/I | N/I |  | N/I | N/I | 5&6 same database
| from JTTR registry | [9 empty] | 7 | Rayamaji 18 | 16 | 1 |  | 16 | 1
Topline | [10 empty] | 8 | Fox 05 | 5 | 5 |  | 5 | 5
ex. injuries, n= | 579 | [9 empty] | 9 | Ramdass 16 | 58 | 0 |  | 58 | 3 | 8 total amputations out of 232, not 8 PTFE. This is wrong. | 1
primary amputation | 49 | 8.463% | [8 empty] | 10 | Lin 22 |  |  |  | 9 | 6 | dacron
salvage surgery | 530 | 91.54% | [8 empty] | 11 | Laverty 21 | N/I | N/I |  | N/I | N/I
sec amp | 90 | 16.98% | these are amputations that had a salvage attempted | [7 empty] | 12 | Rudstrom 08 | iatrogenic injuries |  |  | 84 | 7 | excluded
sec. amp, <30d | 60 |  | better comparator | [8 empty] | total | 165 | 14 | 8.485% | 123 | 25 | 20.33%
sec. amp, >30d | 30
10yr amp. Free | 438 | 82.64%
deaths | 4 | 0.6908% | 3 <24h, 1 2m later
total amp | 139 | 24.01% | this is their amputation comparator | [10 empty] | 18M artegraft
|  |  | this includes primary and secondary amputations | [10 empty] | $6000 per | 3000
Reasons for amputation
n | 139
necrosis of tissue | 58
rzn for necrosis
before arrival | 14
revasculaized, pre-op | 14
fail vasc, thrombosis | 27
haemorhage | 2
drug AE | 1
they note that they get fewer amputations and better results in soldiers than civillians
10 year data
|  | Overall | Salvage | Pri. Amp | Sec. Amp
| AVG | 247 | 205 | 8 | 55
|  |  | 83% | 3.239% | 22.27%
| PG | 21 | 14 | 2 | 5
|  |  | 66.67% | 9.524% | 23.81%
2018 | Penetrating femoral artery injuries: an urban trauma centre experience | [6 empty] | 7
Rayamaji paper
all femoral injuries at Groote Shurr hospital (Germany), 2002-2012
n=158, 81 repairs, 53 AVG, 16 PTFE
primary amp | 4 | 2.532%
sec amp | 10 | 6.329%
| 16 PTFE grafts |  |  | n=16
| 1 PTFE amputation, Sec. amp |  |  | 6.25% | PTFE amp rate
1 PTFE sepsis, resolved, graft saved
2005 | Contemporary management of wartime vascular trauma | [6 empty] | 8
Fox study, single center, Walter Reed Bethesda, MD
from Dec 2001 to Mar 2004
soldiers evacd | 3057
battle injuries | 1524
vascular injuries | 107 | study group
explosive wound | 68
gunshot | 27
blunt trauma | 12
repair in theater | 48
prim amp | 21
sec amp, repaired | 8
5 had mangled extremities w infections/ contaminated wounds
Fox says 5/5 PTFE grafts failed
but also that mISS was about 40, range 16-75 in about a 1/3 of pts he had looked at
he didn't report on it, "was looking into that", might be a follow-on study
2016 | A decade of major vascular trauma: Lessons learned from gang and civilian warfare | [7 empty] | 9
Ramdass study, trinidad
meta analysis
counting 58 PTFE grafts, 8 total amputations, no infections reported
going to just count 5 of the 8 as PTFE failures
2022 | Revisiting Management Strategies for Popliteal Artery Injuries | [6 empty] | 10
Lin study, Taiwan and Phillipines
n=45, n=20 AVG, n=9 Dacron
looked at Gore-tex (Dacron, not PTFE)
|  |  |  | 45 |  | need full paper
|  |  |  | 6 amp w/o vasc |  | 7 repairs worked
|  |  |  | 0.08764 |  | 7amps after initial
0.71111
3 ligation? Guess
2021 | Outcomes of Arterial Grafts for the Reconstruction of Military Lower Extremity Arterial Injuries | [8 empty] | 11
Laverty paper, TX/ MD
n=222 grafts, 56 w GC, 8 synthetics
3 no GC, 5 w GC
mention that battlefield results are worse than civ setting due to resources constraints
2008 | Iatrogenic Vascular Injuries in Sweden. A Nationwide Study 1987–2005 | [8 empty] | 12
Swedish study, Rudstrom
inappropriate to include. They excluded iatrogenic injuries from their actual CT
iatrogenic OS way lower over time
|  | vein | synth
| n | 66 | 84
| amputation | 6 | 7
| % | 9.091% | 8.333%
| occlusion | 5 | 8
| infection | same | same

## Artegraft
2022 | Evaluation Of The Artegraft Conduit For Lower Extremity Revascularization: Retrospective Analysis Of Outcomes WhenUsedInTheSituation Of No Available Autologous Saphenous Vein For Conduit In Lower Extremity Bypass Procedures
| Shanberg paper | [6 empty] | 1
retrospective multi-center analysis btwn 2011-2016
n=60 pts, n=67 LE bypass
| 1yr primary patency 62.7% |  |  | 6.0% amputation
| Limb salvage 1yr 94% | [5 empty] | 0.11667
| during yrs of follow up 7 had aneurysmal degradation | [11 empty] | Sec. Patency, 1yr |  |  | Infection
[11 empty] | Dialysis | N= | BCAG | PTFE | p-value | BCAG | PTFE
2019 | Comparison of Autologous Vein and Bovine Carotid Artery Graft as a Bypass Conduit in Arterial Trauma | [8 empty] | 3 | Katzman 1971 | 100 | 89% |  |  | 5%
| Reilly paper | [8 empty] | 4 | Harlander 2014 | 17 | 89%
| n=30, 18 AVG, 12 BCAG | [8 empty] | 5 | Abdoli 2018 | 63 | 74% |  |  | 2%
| similar co-morbidities | [8 empty] | 6 | Naazie 2022 | 51 | 91.6% |  |  | 4%
| mean follow up 19+/- 13mths | [8 empty] | 7 | Heindel 2024 | 92 | 91.4% | 75.2% | N/I |  |  | 3yr patency
no infections in either group
[10 empty] | 8 | Aziz 2023 | 74 | 81% | 36% | 0.07
Overall outcomes | [9 empty] | 9 | Kennealey 2011 | 26 | 81% |  |  | 8% | 10.4%
| BCAG | AVG | P-value | [6 empty] | 10 | Pineada 2017 | 134 | 78%
Prim. Pat. | 78% | 85% | 0.68 | [6 empty] | 11 | Arhuidese 2017 | 68 | 67% | 48% | 0.01 | 15.4% | 20.6% | ESRD
Sec. Pat. | 78% | 100% | 0.16 | [7 empty] | Total | 625 | 82.44%
Limb Salvage | 82% | 94% | 0.28
Infection | 0% | 0%
LE outcomes
| BCAG | AVG | pvalue
Prim. Pat. | 50% | 71% | 0.4
Sec. Pat. | 75% | 100% | 0.23
Limb Salvage | 80% | 86% | 0.76
1971 | BOVINE ARTEGRAFT ARTERIOVENOUS FISTULAS FOR HEMODIALYSIS IN ONE-HUNDRED PATIENTS AFTER "CONVENTIONAL" ARTERIOVENOUS FISTULAS FAILED | [15 empty] | 3
Katzman paper
| n=100 |  |  |  | incredible!
secondary patency 89% at 18mths
infection 5%
thrombosis 7%
2014 | Bovine Carotid Artery (Artegraft) as a Hemodialysis Access Conduit in Patients Who Are Poor Candidates for Native Arteriovenous Fistulae | [12 empty] | 4
Harlander-Locke paper
n=17 hemodialysis pts btwn Jan 2012 Jun 2013
18m |  |  | cost
prim pat | 73.3% |  | ePTFE | BCAG | Heparin bonded PTFE
prim assist | 67% |  | 614 | 1059 | 1233
sec pat | 89%
2018 | Early cannulation of bovine carotid artery grafts (Artegraft) after primary vascular access and fistula revision procedures | [11 empty] | 5
Abdoli paper
n=63 BCAGs
secondary patency at 1yr 74%
1 death, 1 infection
2022 | Revision of Aneurysmal Arteriovenous Access with Immediate Use Graft Is Safe and Avoids Prolonged Use of Tunneled Hemodialysis Catheters | [14 empty] | 6
Naazie paper
n=51
artegraft, av access point for dialysis
1yr
prim pat | 54.9%
prim as. Pat | 79.4%
sec pat | 91.6%
infection | 3.9% | n=2
2024 | Comparative effectiveness of bovine carotid artery xenograft and polytetrafluoroethylene in hemodialysis access revision | [11 empty] | 7
Heindel paper
n=159, BCAG=92, PTFE=67
| BCAG | PTFE
Loss of sec. pat | 8.6% | 24.8%
Sec Pat | 91.4 | 75.2
2023 | A Retrospective Review of Bovine Artery Graft Patency: A Single-Site Study | [7 empty] | 8
Aziz paper
| BCAG | PTFE
N= | 74 | 48
sec pat 12m | 81% | 36%
infection | 8.1% | 10.4%
2011 | A prospective, randomized comparison of bovine carotid artery and expanded polytetrafluoroethylene for permanent hemodialysis vascular access | [14 empty] | 9
Kennealey paper
PTFE vs. BCA in prospective study
n=26 BCA, n=27 PTFE
not a lot of long term data
2yr
1yr | BCA | PTFE | p value |  | BCA | PTFE
prim. Pat | 60.5% | 10.1% | 0.0062
prim. As. Pat | 60.5% | 20.8% | 0.012
sec. pat | 81% | 73% | NS |  | 64.1% | 59.2%
2017 | Bovine carotid artery xenografts for hemodialysis access | [5 empty] | 10
Pineada paper
n=134, 126pts all BCAG
1yr |  |  | 2yr
prim pat | 32% |  | 15%
prim as. Pat | 49% |  | 35%
sec pat | 78% |  | 60%
infection | 7% | n=10
2018 | A prospective randomized study of bovine carotid artery biologic graft and expanded polytetrafluoroethylene for permanent hemodialysis access
Aridi paper
| BCA vs PTFE, ESRD pts |  |  | NOT DONE??
1yr | BCA | PTFE
prim pat
prim as. Pat
sec pat
fcn. Pat
infection
2017 | Bovine carotid artery biologic graft outperforms expanded polytetrafluoroethylene for hemodialysis access | [9 empty] | 11
Arhuidese paper
| retrospective, BCA (n=68) vs PTFE (n=52), ESRD |  |  |  | 2yr
1yr | BCA | PTFE | pvalue |  | BCA | PTFE
prim pat | 30% | 43% | 0.25 |  | 16% | 29%
prim as. Pat | 36% | 45% | 0.67 |  | 24% | 35%
sec pat | 67% | 48% | 0.01 |  | 67% | 38%
fcn. Pat | 96% | 84%
infection | 15.4% | 20.6%
mortality |  |  |  |  | 8% | 27% | 0.01
[9 empty] | Incidence | Unit cost | Total cost
[8 empty] | PTFE | 100 | 1200 | 120000
[8 empty] | Amputation | 20 | 90000 | 1800000
[10 empty] | Total | 1920000
[8 empty] | ATEV | 100 | 25000 | 2500000
[8 empty] | Amputation | 10 | 90000 | 900000
[10 empty] | Total | 3400000
[8 empty] | Artegraft | 100 | 3000 | 300000
[8 empty] | Amputation | 10 | 90000 | 900000
[10 empty] | Total | 1200000

## Artegraft patent lit
New Russian polymer matrix
https://patents.google.com/patent/RU2808880C1/en?q=(artegraft)&q=(%22artegraft%22)

## PAD data
V002
V004
2024 | Comparative outcomes of arterial bypass using the human acellular vessel and great saphenous vein in patients with chronic limb ischemia
comparison btwn GSV and HAV in PAD
mostly in tibial bypass
group 1, n=34, got HAV
group 2, historical, multi-center, single-segment GSV, n=88
| G1 | more smoking, more coronary artery disease (71% v 43%), prior grafting (38% v 14%)
more wounds, ischemia, foot infections stage 4 (weird stat, 56% v 33%)
previous leg revascularizations (97% v 53%)
85% of pts had to have HAV sewn together
tibial vessels target of surgery 79% vs 100%
| G1 | G2
amputation free survival | 73% | 81% | p=0.55
OS | 84% | 88% | p=0.20 |  |  | S
primary pat | 36% | 50% | p=0.044
prim assist pat | 45% | 72% | p=0.002
secondary pat | 64% | 72% | p=0.003
2024 | Outcomes of Arterial Bypass With the Human Acellular Vessel for Chronic Limb-Threatening Ischemia Performed Under the FDA Expanded Access Program
limb salvage, limb threatening ischemia, FDA expanded access program
n=14, older popln, 12men mAge 62+/- 14yrs
Secondary Patency, 12m | [6 empty] | Secondary Patency, 24m
Indication | ATEV | Synth | AVF | AVG | BCAG |  | Indication | ATEV | Synth | AVF | AVG | BCAG
Trauma | [6 empty] | Trauma
V005 | 68.9% | N/I |  |  |  |  | V005 | 68.9% | N/I
V017 | 87% | N/I |  |  |  |  | V017 | 87% | N/I
Comp |  |  |  |  | 78% |  | Comp |  |  |  |  | 78%
Hemodialysis | [6 empty] | Hemodialysis
V001 | 94% | 56% | 59% |  |  |  | V001 | 79% | 48% | 54%
V006 | 82% | 80% |  |  |  |  | V006 | 67% | 74%
V007 | 68.3% |  | 62.2% |  |  |  | V007 | N/I | N/I
Comp |  |  |  |  | 82% |  | Comp |  |  |  |  | N/I
PAD | 64% |  |  | 72%

## PTFE Data
ECRI meta data
Grafts
22 human studies
Appendix D
Local Host responses, reported:
patency, thrombosis, occlusion, hematoma and complication rate
no dif in out come of PTFE vs other graft material/ technique
Hemodialysis
2019 SR Flixene and Acuseal
| Flixene | Acuseal | Avflo | polyurethane Vectra
mTime to first cannulation | 2-21d | 1-15d | 7d | 1-19d
primary pat, 12m | 43.3% | 43.6% | 58.2% | 63.7%
secondary pat, 12m | 73.4% | 70.5% | 79.2% | 85.8%
steal syndrome | 0-8% | 0-11% | n/a | 0-3.5%
access thrombosis | 11-29% | 17-41% | 16-42% | 23-37%
pseudoaneurym | 0-6% | 0-15% | 0% | 0-17%
2015 single arm study, ePTFE study
| standard PTFEe | heparin bonded ePTFE graft
primary pat, 6m | 29% | 35%
primary pat, 12m | 12% | 14%
assisted primary pat, 12m | 41% | 54%
assisted primary pat, 24m | 30% | 41%
assisted primary pat, 36m | 23% | 27%
secondary pat, 12m | 81% | 83%
secondary pat, 24m | 73% | 83%
secondary pat, 36m | 68% | 81%
much fewer thromboses in haparin bonded graft